Government of Pakistan

National Vocational and Technical Training Commission

(NAVTTC)

"Prime Minister Youth Skill Development Program"

Course Contents / Lesson Plan

Course Title: Renewable Energy System Design (Solar)

Duration: 6 Months

| Author Name | Engr. Dr. Waqas Abdul Salaam |
| --- | --- |
| Course Title | Renewable Energy System Design (Solar) |
| Training Objective & Learning Outcomes | Employable Skills and Hand on Practice for Renewable Energy System Design (Solar) The training objectives of the 6-month Renewable Energy System Design (Solar) course under the PMYP program focus on equipping trainees with foundational and advanced knowledge and skills in solar energy technologies. The course aims to build a comprehensive understanding of solar photovoltaic (PV) system, design parameters, and system configurations, including on-grid, off-grid, and hybrid solar PV systems. Trainees will learn to perform load assessments, select appropriate system components such as solar panels, batteries, charge controllers, and inverters, and develop competency in the installation, testing, troubleshooting, and maintenance of solar power systems. This hands-on training approach ensures that participants gain practical experience for wage or self-employment in the renewable energy sector. Furthermore, the course emphasizes sustainable energy development principles, energy efficiency management, and the economic aspects of solar power systems, including tariff calculations and cost analysis. Trainees will be trained to analyze environmental impacts, optimize solar system performance under varying conditions like shading and temperature, and apply solar design software tools for system sizing and angle optimization. The program also incorporates health and safety practices, industry-specific case study titled: Lightening Up Lives with Solar Energy for Punjab, Pakistan and field visits, preparing participants for real-world challenges and market demands in renewable energy system design and implementation. Learning Outcomes By the end of this course, students will be able to perform the following Competency Standards: - Understand the concept of sustainable energy development and various renewable energy technologies, especially solar PV systems - Demonstrate knowledge of solar power system components including solar panels, batteries, charge controllers, inverters, and wiring. - Perform load assessments and design solar PV systems (on-grid, off-grid, hybrid) suited to different site conditions. - Develop skills for installation, testing, commissioning, troubleshooting, and maintenance of solar power systems. - Analyze factors affecting solar system efficiency such as shading, tilt angle, temperature, and solar irradiance. - Use solar design software tools for accurate system sizing, performance simulation, and optimization. - Calculate power tariffs, energy costs, and perform economic feasibility analysis for solar projects. - Apply safety standards, quality assurance, and industry best practices during solar system implementation - Conduct environmental impact assessment and promote energy conservation and management principles - Gain hands-on experience through practical tasks, case study titled: Lightening Up Lives with Solar Energy for Punjab Pakistan, and field visits to prepare for market roles in renewable energy. |
| Entry-level of trainees | Secondary School Certificate or Equivalent |
| Minimum Qualification of Teachers | B.Sc. Engineering and 2 years of relevant work experience in solar industry Or B-Tech and 2 years of relevant work experience in solar industry Or Diploma Associate Engineer (DAE) and 3 years’ relevant work experience in solar industry Or Certificate as Solar PV Technician Level 2 with 3 years of relevant work experience |
| Scheme of Studies | Renewable Energy System Design (Solar) Sr. No; Modules; Theory Hrs.; Practical Hrs.; Total Hrs.. Follow Occupational Health and Safety Practices; 4; 21; 25. Demonstrate Basic Communication Skills; 4; 18; 22. Apply Basic Electricity Concept; 6; 21; 27. Perform Single Phase Electrical Wiring; 5; 30; 35. Perform Three Phase Electrical Wiring; 5; 30; 35. Interpret Solar PV system; 6; 27; 33. Perform Earthing; 5; 30; 35. Design of Solar PV System; 7; 33; 40. Perform Solar Site Assessment; 6; 27; 33. Perform Installation of Solar PV System; 6; 33; 39. Maintain Solar PV System; 6; 33; 39. Configure Solar PV System; 6; 30; 36. Perform Operation of Solar PV System; 4; 30; 34. Analyze Electricity Bill and Smart Meter; 4; 30; 34. Develop Entrepreneurship; 5; 21; 26. Total; 79; 414; 493. |
| Course Execution Plan | Duration of the course: 6 months (24 Weeks) Theory: 20% Practical: 80% Weekly hours: 20 hours per week Total contact hours: 493 hours |
| Companies offering jobs in the respective trade | - Solar Industry - Solar Installation - Solar Marketing |
| No of Students | 25 |
| Learning Place | Classroom / Lab |
| Instructional Resources | - PDF Books - Video Lectures - Online Free Tutorials |

DETAIL OF COURSE CONTENTS

| Schedule Week | Module Title | Learning Units | Task/Practical |
| --- | --- | --- | --- |
| Week 1 | Follow Occupational Health and Safety Practices | Day 1 - Ensure use of PPEs - Introduction to safety standards - Types of PPE - Head Protection - Eye Protection - Face Protection - Respiratory Protection - Body Protection - Foot Protection - Hearing Protection - Classification of PPEs as per job: - Construction industry - Health care centre - Manufacturing Plants - Electrical - Manufacturing Industry - Mining Industry - Emergency Services | Task 1. Demonstrate the use of PPE’s Task 2. Safe Handling & Installation of Solar PV Modules |
|  |  | Day 2 - Maintain first aid box - First aid procedures - Minor body cut - Bleeding - Eye Injury - Fever - Muscular Pain - Band Aid wrapping - 1st Degree Burn treatment |  |
|  |  | Day 3 - Operate Fire Extinguisher - Interpret given 5 classes of fire extinguisher - Class A - Class B - Class C - Class D - Class K - Foam Extinguisher - Dry Chemical Extinguisher - Carbon dioxide Extinguisher - Dry Powder Extinguisher - Wet Chemical Extinguisher - Procedure for refilling fire extinguisher |  |
|  |  | Day 4 - Follow safety practices - Use of PPE - Maintain Clean work area - Report unsafe conditions - Proper use of tools - Emergency preparedness - Emergency response and evacuation plan - PPE programs - LOTO Procedures - Training Program - Incident Reporting Procedures - Chemical Safety Procedures |  |
|  |  | Day 5 - Prepare and respond to Emergencies - Prepare emergency plan - Interpret evacuation plan |  |
| Week 2 | Demonstrate Basic Communication Skills | Day 1 - Follow Workplace Instructions - Ask questions to extract relevant information. - Carry out instructions based on received information. - Introduction to 7C’s of communication | Task 3. Prepare a word document on 7C’s of communication and present it. Task 4. Demonstrate the process of Effective Communication |
|  |  | Day 2 - Follow Workplace Instructions - Provide feedback based on received written instructions - Compose workplace notes and memos. |  |
|  |  | Day 3 - Develop Effective Workplace Relationships - Perform duties to improve team cooperation - Verbal and Non-Verbal Communication |  |
|  |  | Day 4 - Develop Effective Workplace Relationships - Consult team members when challenges arise - Respect differences in personal values and beliefs |  |
|  |  | Day 5 - Communicate and work with Team Members - Identify individual roles and responsibility - Recognize team members responsibility with respect |  |
| Week 3 | Apply Basic Electricity Concept | Day 1. - Interpret Electricity | Task 5. Demonstrate Ohm’s law Task6. Verify Ohm’s Law with help of electrical circuit |
|  |  | Day 2. - Interpret current - Interpret voltage - Interpret resistance |  |
|  |  | Day 3. - Interpret Ohm’s law |  |
|  |  | Day 4. - Calculation of Voltage |  |
|  |  | Day 5. - Calculation of Current |  |
| Week 4 | Apply Basic Electricity Concept | Day 1 - Make Series circuit | Task 7. Make Series Circuit and calculate current, Voltage and Resistance Task 8. Make Parallel Circuit and calculate current, Voltage and Resistance |
|  |  | Day 2 - Make Parallel Circuit |  |
|  |  | Day 3 - Make Series-Parallel Circuit |  |
|  |  | Day 4 - Measure Electrical Energy in Electrical Circuit |  |
|  |  | Day 5 - Calculate Real power, reactive power and apparent power |  |
| Week 5 | Perform Single Phase Electrical Wiring | Day 1. - Interpret the layout plans - Interpret wiring diagrams. | Task 9. Make single phase wiring of Kitchen Task 10. Make Single phase wiring of room |
|  |  | Day 2. - Interpret dimensions for single phase system |  |
|  |  | Day 3. - Interpret dimensions for single phase system - Identify wire gauge based on current and voltage requirements - Measure wire gauge based on current and voltage requirements |  |
|  |  | Day 4. - Install following single-phase components - 1 Miniature Circuit Breaker (MCB) - 1 Residual Current Circuit Breaker (RCCB) - Switches (1-gang,2 gang) - Sockets ( 2-pin, 3-pin) - 1 Fan - 2 Light Fittings |  |
|  |  | Day 5. - Perform following Jointing Techniques of Single-phase components - Straight joint - Twisted joint - Soldered joint - Mechanical connector joints |  |
| Week 6 | Perform Three Phase Electrical Wiring | Day 1. - Interpret the layout plans and wiring diagrams and dimensioning for Three-phase systems. | Task 11. Make Reverse Forward circuit for motor control Task 12. Installation of three phase distribution board |
|  |  | Day 2. - Interpret dimensions for three phase system |  |
|  |  | Day 3. - Interpret dimensions for three phase system - Perform Jointing Techniques of Three Phase Wiring |  |
|  |  | Day 4. - Install and fix following three-phase components - Three phase miniature circuit breakers (MCB) - Overload Relays - Changeover Switch - Three phase induction motor |  |
|  |  | Day 5. - Perform following cable jointing for three phase components - Straight through joints - End terminations - Busbar jointing techniques |  |
| Week 7 | Perform Three Phase Electrical Wiring | Day 1. - Introduction to energy meter - Install three-phase energy meters. | Task 13. Make three phase On/OFF Motor circuit Task 14. Make Star Delta Circuit for motor |
|  |  | Day 2. - Perform Monitoring and positioning of three phase energy meter - Perform Wiring and Connection of three phase energy meter |  |
|  |  | Day 3. - Make three-phase motor connections including ON/OFF |  |
|  |  | Day 4. - Make three-phase Motor Connection including reverse/forward circuit |  |
|  |  | Day 5. - Make three-phase Motor Connection including Star/Delta, Connections |  |
| Week 8 | Interpret Solar PV System | Day 1. - Identify Renewable Energy Resources: - Solar PV System - Hydroelectric - Wind Power - Biomass | Task 15. Demonstrate operation of Solar PV System Task 16. Demonstrate Renewable Energy Resources |
|  |  | Day 2. - Differentiate between Renewable & Non Renewable Energy Resources |  |
|  |  | Day 3. - Interpret Operation of Lead Acid Battery - Interpret Operation of Lithium Ion Battery |  |
|  |  | Day 4. - Identify Charge Controller - Identify Solar Inverter - Identify Batteries |  |
|  |  | Day 5 - Interpret functionality of Solar Inverter - Interpret MPPT |  |
| Week 9 | Interpret Solar PV Systems | Day 1. - Interpret Off-Grid Solar PV System | Task 17. Demonstrate Hybrid Solar PV System Task 18 Differentiate between Off-Grid and ON Grid System |
|  |  | Day 2. - Interpret ON-Grid Solar PV System |  |
|  |  | Day 3. - Interpret Hybrid Solar PV System |  |
|  |  | Day 4. - Interpret Concentrated Photo voltaic system |  |
|  |  | Day 5. - Interpret Floating Solar PV System |  |
| Week 10 | Perform Earthing | Day 1. - Interpret the principles of earthing - Safety - Low Resistance - Equipotential bonding - Safe Dissipation - Voltage stability - Fast protective action - Durability - Compliance | Task 19. Demonstrate process of Earthing Task 20 Measure Earthing resistance with help of earth resistance meter |
|  |  | Day 2. - Interpret Plate Earthing - Interpret Pipe Earthing - Interpret Rod Earthing - Interpret Strip Earthing |  |
|  |  | Day 3. - Procedure of Plate Earthing - Procedure of Pipe Earthing - Procedure of Rod Earthing - Procedure of Strip Earthing |  |
|  |  | Day 4. - Perform earthing with standard technique. |  |
|  |  | Day 5. - Perform test of earthing - Earth Resistance Test |  |
| Week11 | Perform Earthing | Day 1. - Check the instrument for earth resistance measurement | Task 21. Demonstrate steps of Earthing Task 22. Demonstrate steps of measurement of earth resistance |
|  |  | Day 2. - Follow standard procedure for earth resistance measurement |  |
|  |  | Day 3. - Measure soil resistivity as per procedure |  |
|  |  | Day 4. - Measure Earth Resistance as per procedure |  |
|  |  | Day 5. - Perform Log & Records Maintenance |  |
| Week 12 | Design of Solar PV System | Day 1. - Load Assessment for solar PV system design | Task 23. Demonstrate process of calculation of electrical load Task 24 Demonstrate the process of selection of solar panels |
|  |  | Day 2. - Load Assessment for solar PV system design - Calculation of Electrical Load |  |
|  |  | Day 3. - OFF-Grid Inverter - ON-Grid Inverter - Hybrid Inverter - Capacities of Inverter |  |
|  |  | Day 4. - Selection of Inverter |  |
|  |  | Day 5. - Power Rating of Solar Panels - Selection of Solar Panels |  |
| Week 13 | Design of Solar PV System | Day 1. - Selection of Solar Panels - N-Type Solar Panels - P-Type Solar Panels - Monofacial Solar Panels - Bi-Facial Solar Panels | Task 25. Demonstrate the process of sizing Battery Bank Task 26. Demonstrate the process of sizing of Cables |
|  |  | Day 2. - Types of Batteries - Lead-Acid Battery - Tall Tubular Battery - Lithium Ion Battery - Selection of Battery Bank |  |
|  |  | Day 3. - Selection of Battery Bank - Calculation of Current rating for Solar PV System |  |
|  |  | Day 4. - Types of cables - 3/.29 - 7/.29 - 7/.36 - 7/.44 - core cable (3,4,5) - Selection of Cables |  |
|  |  | Day 5 - Selection of Earthing System |  |
| Week 14 | Perform Solar Site Assessment | Day 1. - Conduct Survey for Solar PV System | Task 27. Demonstrate process of survey for Solar PV System Task 28. Measure the solar radiations with help of Lux meter |
|  |  | Day 2. - Interpret Solar Irradiance |  |
|  |  | Day 3. - Interpret weather pattern |  |
|  |  | Day 4. - Interpret Shading Analysis |  |
|  |  | Day 5. - Prepare Assessment Report |  |
| Week 15 | Perform Installation of Solar PV System | Day 1. - Arrange required tools and equipment | Task 29. Make String of Solar Panels in Series connection Task 30. Make String of Solar Panels in Parallel Connection |
|  |  | Day 2. - Perform PV test |  |
|  |  | Day 3. - Erect mounting structure |  |
|  |  | Day 4. - Fix PV modules as per circuit design |  |
|  |  | Day 5. - Connect the PV Modules as per Circuit Design |  |
| Week 16 | Perform Installation of Solar PV System | Day 1. - Installation of inverters | Task 31. Make Connection of Solar Panels to the Inverter Task 32. Make Connection of Batteries to the Inverter |
|  |  | Day 2. - Installation of Battery Bank |  |
|  |  | Day 3. - Installation of Earthing System |  |
|  |  | Day 4. - Installation of energy meters for solar system |  |
|  |  | Day 5. - Perform Test after installation of Solar PV System |  |
| Week 17 | Maintain Solar PV System | Day 1. - Inspect Solar Panels | Task 33 Demonstrate steps of Maintenance of Solar PV System Task 34. Prepare Log sheet for the maintenance of Solar PV System |
|  |  | Day 2. - Clean Solar Panels |  |
|  |  | Day 3. - Check Electrical Connections of solar panels with each other |  |
|  |  | Day 4. - Inspect Mounting hardware |  |
|  |  | Day 5. - Check Batteries for Operation |  |
| Week 18 | Maintain Solar PV System | Day 1. - Check Inverters for Operation | Task 35. Check Maintenance Parameters of Inverter Task 36. Check Maintenance Parameters of Protective equipment |
|  |  | Day 2. - Check Inverters for Operation |  |
|  |  | Day 3. - Perform routine practices for maintenance |  |
|  |  | Day 4. - Perform routine practices for maintenance |  |
|  |  | Day 5. - Perform routine practice for maintenance |  |
| Week 19 | Maintain Solar PV System | Day 1. - Diagnose faults of solar system | Task 37. Diagnose the faults in Solar PV system Task 38. Rectify the Faults in Solar PV System |
|  |  | Day 2. - Repair as per faults |  |
|  |  | Day 3. - Rectify the faults |  |
|  |  | Day 4. - Carryout post rectification function test |  |
|  |  | Day 5. - Perform wiring tests |  |
| Week 20 | Configure Solar PV System | Day 1. - Check the solar PV system specifications | Task 39. Set basic parameter on Inverter Task 40. Interpret Fault Error Code |
|  |  | Day 2. - Verify operation of system as per specifications |  |
|  |  | Day 3. - Perform Parameters Setting of Solar Inverter |  |
|  |  | Day 4. - Interpret Fault error code |  |
|  |  | Day 5. - Monitor operation via Software on digital platform |  |
| Week 21 | Perform Operation of Solar PV System | Day 1. - Interpret construction and working principles of solar PV panels and system components. | Task 41. Perform Start-up and shut down procedure of Solar PV System Task 42. Measure Output of Solar PV System at different tilt angle and orientation |
|  |  | Day 2. - Identify factors affecting the electricity output and efficiency of a solar PV system. |  |
|  |  | Day 3. - Demonstrate the ability to connect and operate arrays of solar panels safely and correctly. |  |
|  |  | Day 4. - Explain the functions and operation of charge controllers, inverters, and batteries in the PV system. |  |
|  |  | Day 5. - Perform routine system monitoring and data logging to assess system performance. |  |
| Week 22 | Perform Operation of Solar PV System | Day 1. - Diagnose faults in solar PV system | Task 43. Demonstrate procedure of Load Management Task 44. Diagnose the fault in Solar PV system |
|  |  | Day 2. - Apply safe work practices to prevent electrical hazards during operation. |  |
|  |  | Day 3. - Interpret system parameters such as voltage, current, and power to ensure optimal operation. |  |
|  |  | Day 4. - Establish procedures for load management and energy utilization from the PV system. |  |
|  |  | Day 5. - Maintain records of system operation, performance, and maintenance schedules to support reliability and continuity. |  |
| Week 23 | Analyze Electricity Bill and Smart Meter | Day 1. - Interpret Operation of Smart Meter | Task 45. Measure Import Units of electricity Task 46. Measure Export Units of electricity |
|  |  | Day 2. - Interpret Import Units of electricity |  |
|  |  | Day 3. - Interpret Export Units of electricity |  |
|  |  | Day 4. - Check Maximum demand indicator (MDI) Reading in electricity meter |  |
|  |  | Day 5. - Check Bill Amount with Taxes |  |
| Week 24 | Develop Entrepreneurship | Day 1. - Identify Solar Market | Task 47. Prepare a business plan for Solar PV Business Task 48. Create a Marketing and Sales Pitch for Solar Products |
|  |  | Day 2. - Identify Business Opportunities |  |
|  |  | Day 3. - Plan Solar PV Business |  |
|  |  | Day 4. - Set up an Enterprise of Solar PV |  |
|  |  | Day 5. - Manage Solar PV Business |  |

LIST OF MACHINERY / EQUIPMENT

For the Class of 25 Students (6-Month Course)

| SR. NO | NAME OF TOOL EQUIPMENT’S AND MACHINERY | QTY. REQUIRED |
| --- | --- | --- |
| 1 | AVO Meter | 05 |
| 2 | Combination Plier. | 10 |
| 3 | Nose plier. | 10 |
| 4 | Wire Stripper | 10 |
| 5 | Soldering Iron | 05 |
| 6 | Set of Screw Drivers | 10 |
| 7 | Ring Spanner Set | 02 |
| 8 | Tacho Meter-Digital | 05 |
| 9 | Earth resistance tester (Digital) Spike Type, Clamp Type) | 05 |
| 10 | Continuity & Insulation tester | 04 |
| 11 | IR Temperature Gun | 05 |
| 12 | Digital Multimeter | 05 |
| 13 | Cable Knife | 10 |
| 14 | Phase Sequence Meter | 02 |
| 15 | Clamp-On Meter (AC &DC) | 05 |
| 16 | Lux Meter | 02 |
| 17 | Lugs Punching Machine (Hydraulic and Manual) | 02 |
| 18 | Battery Tester | 02 |
| 19 | Micro Meter mm | 05 |
| 20 | Hydrometer(digital) | 05 |
| 21 | Disk Grinder Machine | 02 |
| 22 | Hammer | 5 |
| 23 | Hacksaw Frames | 5 |
| 24 | Cordless Impact Wrench with Kit | 02 |
| 25 | Battery Charger | 05 |
| 26 | Bench Vice | 02 |
| 27 | Chisel | 02 |
| 28 | 3- Phase energy meter (Green Meter) | 02 |
| 29 | Energy meter Digital Single Phase | 02 |
| 30 | Charge Controller PWM 40 amp | 01 |
| 31 | Charge Controller MPPT 50 amp | 05 |
| 32 | Solar Hybrid Inverter 4KW MPPT | 02 |
| 33 | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 02 |
| 34 | Solar OFF-Grid Inverter 3KW- (Single Phase) | 02 |
| 35 | Solar ON-Grid Inverter 10 KW--(Three Phase) | 02 |
| 36 | Lead Acid Battery -12 V, 150 AH | 02 |
| 37 | DRY Battery- 12 V, 100AH | 02 |
| 38 | Tall tubular Battery -12 V, 180AH | 02 |
| 39 | Solar PV Module N-Type, Monoficial 585 W | 10 |
| 40 | Solar PV Module N-Type Bifacial TOPCON, 585 W | 10 |
| 41 | Solar PV Module Mono (P-Type), 585 W | 02 |
| 42 | Solar PV Module P-Type Hetro Junction Technology, 585W | 02 |
| 43 | Solar PV Module P-Type Back Contact, 585 W | 02 |
| 44 | DC power Supply 12-to-24-volt | 05 |
| 45 | Solar panel Structure (L2, L3) | (10+10=20) |
| 46 | Solar PV Tester | 05 |
| 47 | Voltmeter (Analog & Digital) | 05 |
| 48 | Ampere Meter (Analog & Digital) | 05 |
| 49 | Watt Meter (Analog & Digital) | 05 |
| 50 | VAR Meter | 05 |
| 51 | Digital Power Factor Meter | 02 |
| 52 | Analog Multimeter | 05 |
| 53 | Energy meter Digital- Three phase | 05 |
| 54 | Spanner set (Open end) | 02 |
| 55 | Ratcheted Set | 02 |
| 56 | SWG Wire Gage | 05 |
| 57 | Spirit Level | 05 |
| 58 | Screw Driver Set Chordless (Battery Operated) | 01 |
| 59 | Multimedia Projector | 01 |
| 60 | Rotary Change Over 2-P 50A | 02 |
| 61 | Electronic Relay 0-20Amp | 04 |
| 62 | Stop Watch | 02 |
| 63 | Power Analyzer / Monitoring Meter for DB installation | 05 |
| 64 | Operation Monitoring Device (LED Screen or Tablet) | 02 |
| 65 | Laser Level Machine | 05 |
| 66 | # Drill Machine Set Chargeable 24V Cordless | 02 |
| 67 | VFD (Variable Frequency Drive)-(Different Brands)-7-11KW -400V | 04 |
| 68 | Torque Drill Machine-Set –230V – 400W | 02 |
| 69 | calculator (Scientific) | 02 |
| 70 | Radiation measuring meter (Solar Irradiance meter) | 05 |
| 71 | Pyranometer (For Solar irradiance) | 05 |
| 72 | Thermal Infrared Sensor / Imager | 05 |
| 73 | IV Curve tracer | 05 |
| 74 | Thermal Infrared Sensor / Imager | 05 |
| 75 | Compass | 05 |
| 76 | Solar cleaning brush | 02 |
| 77 | Pressure washer for cleaning | 02 |

LIST OF CONSUMABLE MATERIAL

For the Class of 25 Students (6-Month Course)

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 10 No. |
| 3 | PVC Pipe/ Duct. | 500 ft |
| 4 | PVC clamp. | 3Pkt |
| 5 | PVC board with plate. | 72 No. |
| 6 | Distribution Box-PVC | 10 No. |
| 7 | AC MCB 2P 63A | 06 No. |
| 8 | AC MCB 1P 16A | 10 No. |
| 9 | AC MCB 1P 10A | 10 No. |
| 10 | Rotary Box | 4 No. |
| 11 | DC Wire 4mm XLPE (tinned coated) | 2 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 2 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 40 ft |
| 15 | Wire 1/0.044 | 2 Coil |
| 16 | Wire 3/0.029 | 5 Coil |
| 17 | Wire 7/0.029 | 2 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 10 |
| 24 | Push Button (3H) | 10 |
| 25 | Flexible Pipe 3/4” | 20 ft |
| 26 | Flexible Pipe 1” | 20 ft |
| 27 | Duct Putty 40x40 | 10 |
| 28 | Duct Putty 60x60 | 10 |
| 29 | Rawal Plug | 100 |
| 30 | Panel indicators | 12 |
| 31 | Intermediate Switch | 10 |
| 32 | Screw 1.5” | 5 boxes |
| 33 | Single pole switch. | 50 |
| 34 | Lamp holder | 25 |
| 35 | Lamp AC/DC | 25 |
| 36 | PVC Connector Strip | 25 |
| 37 | Drill bits | 25 |
| 38 | Electrical PVC tapes (Multi colors) | 25 |
| 39 | Two-way switch | 25 |
| 40 | Two pole switches | 25 |
| 41 | Junction Box | 25 |
| 42 | Photo Copy Paper -A4 | 12 Rims |
| 43 | PVC Cable Ties | 05 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 05 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 05 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 12 |
| 47 | Connector MC-4 1500V (set) | 50 |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 3 Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 1 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |
| 51 | Battery Terminals (set) | 24 |
| 52 | Battery Water (Distilled Water) | 05 Bottles |
| 53 | Rawal Bolt with Washers | 50 |
| 54 | Lightning Arrester Complete Set (Copper) Medium Size | 03 |
| 55 | PVC Pipe ¾” | 500 ft |
| 56 | Two Pin Socket | 36 |
| 57 | Lamp Holder | 36 |
| 58 | Junction Box ¾” | 20 |
| 59 | PVC Boards 4”x4” | 60 |
| 60 | DC MCB 2P 63A & 125A | 10 |
| 61 | AC MCCB 3P 40A | 10 |
| 62 | DC SPD 2P 40KA 1500V & 1000V | 10 |
| 63 | AC SPD 2P 40KA 500V | 10 |
| 64 | AC SPD 4P 40KA 1000V | 10 |
| 65 | V+A Protector 2P 80A | 5 |
| 66 | Magnetic Contactors 2+2 | 20 |
| 67 | Phase Failure Relay | 5 |
| 68 | Drawing Charts | 200 |
| 69 | Exercise Board (800x1200 mm) | 25 |
| 70 | Cable (4-core) 10-mm | 01 coil |

Trade Registration Form

- Title of the Qualification.

Renewable Energy System Design (Solar)

- Organogram / Pathway / Equivalencies.

| Entry Level | Vocational Qualification | Equivalence | Next Progression |
| --- | --- | --- | --- |
| Secondary School Certificate or Equivalent | N/A | N/A | N/A |

- List of Competencies/Modules

|  | Competency Standards/ Modules |
| --- | --- |
| Competency 1 | Follow Occupational Health and Safety Practices |
| Competency 2 | Demonstrate Basic Communication Skills |
| Competency 3 | Apply Basic Electricity Concept |
| Competency 4 | Perform Single Phase Electrical Wiring |
| Competency 5 | Perform Three Phase Electrical Wiring |
| Competency 6 | Interpret Solar PV system |
| Competency 7 | Perform Earthing |
| Competency 8 | Design of Solar PV System |
| Competency 9 | Perform Solar Site Assessment |
| Competency 10 | Perform Installation of Solar PV System |
| Competency 11 | Maintain Solar PV System |
| Competency 12 | Configure Solar PV System |
| Competency 13 | Perform Operation of Solar PV System |
| Competency 14 | Analyze Electricity Bill and Smart Meter |
| Competency 15 | Develop Entrepreneurship |

- Class / Workshop Size/ Dimension (25 Students Capacity)

|  | Requirement | Size/Dimensions(feet) |
| --- | --- | --- |
| Classroom size | Yes | 25x30 |
| Workshop/Laboratory size | Yes | 40x40 |
| Any other Requirement | No | No |

- Machinery / Lab Equipment (with quantity/25 Students)

| Serial No. | Item | Qty. Required |
| --- | --- | --- |
| 1 | AVO Meter | 05 |
| 2 | Combination Plier. | 10 |
| 3 | Nose plier. | 10 |
| 4 | Wire Stripper | 10 |
| 5 | Soldering Iron | 05 |
| 6 | Set of Screw Drivers | 10 |
| 7 | Ring Spanner Set | 02 |
| 8 | Tacho Meter-Digital | 05 |
| 9 | Earth resistance tester (Digital) Spike Type, Clamp Type) | 05 |
| 10 | Continuity & Insulation tester | 04 |
| 11 | IR Temperature Gun | 05 |
| 12 | Digital Multimeter | 05 |
| 13 | Cable Knife | 10 |
| 14 | Phase Sequence Meter | 02 |
| 15 | Clamp-On Meter (AC &DC) | 05 |
| 16 | Lux Meter | 02 |
| 17 | Lugs Punching Machine (Hydraulic and Manual) | 02 |
| 18 | Battery Tester | 02 |
| 19 | Micro Meter mm | 05 |
| 20 | Hydrometer(digital) | 05 |
| 21 | Disk Grinder Machine | 02 |
| 22 | Hammer | 5 |
| 23 | Hacksaw Frames | 5 |
| 24 | Cordless Impact Wrench with Kit | 02 |
| 25 | Battery Charger | 05 |
| 26 | Bench Vice | 02 |
| 27 | Chisel | 02 |
| 28 | 3- Phase energy meter (Green Meter) | 02 |
| 29 | Energy meter Digital Single Phase | 02 |
| 30 | Charge Controller PWM 40 amp | 01 |
| 31 | Charge Controller MPPT 50 amp | 05 |
| 32 | Solar Hybrid Inverter 4KW MPPT | 02 |
| 33 | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 02 |
| 34 | Solar OFF-Grid Inverter 3KW- (Single Phase) | 02 |
| 35 | Solar ON-Grid Inverter 10 KW--(Three Phase) | 02 |
| 36 | Lead Acid Battery -12 V, 150 AH | 02 |
| 37 | DRY Battery- 12 V, 100AH | 02 |
| 38 | Tall tubular Battery -12 V, 180AH | 02 |
| 39 | Solar PV Module N-Type, Monoficial 585 W | 10 |
| 40 | Solar PV Module N-Type Bifacial TOPCON, 585 W | 10 |
| 41 | Solar PV Module Mono (P-Type), 585 W | 02 |
| 42 | Solar PV Module P-Type Hetro Junction Technology, 585W | 02 |
| 43 | Solar PV Module P-Type Back Contact, 585 W | 02 |
| 44 | DC power Supply 12-to-24-volt | 05 |
| 45 | Solar panel Structure (L2, L3) | (10+10=20) |
| 46 | Solar PV Tester | 05 |
| 47 | Voltmeter (Analog & Digital) | 05 |
| 48 | Ampere Meter (Analog & Digital) | 05 |
| 49 | Watt Meter (Analog & Digital) | 05 |
| 50 | VAR Meter | 05 |
| 51 | Digital Power Factor Meter | 02 |
| 52 | Analog Multimeter | 05 |
| 53 | Energy meter Digital- Three phase | 05 |
| 54 | Spanner set (Open end) | 02 |
| 55 | Ratcheted Set | 02 |
| 56 | SWG Wire Gage | 05 |
| 57 | Spirit Level | 05 |
| 58 | Screw Driver Set Chordless (Battery Operated) | 01 |
| 59 | Multimedia Projector | 01 |
| 60 | Rotary Change Over 2-P 50A | 02 |
| 61 | Electronic Relay 0-20Amp | 04 |
| 62 | Stop Watch | 02 |
| 63 | Power Analyzer / Monitoring Meter for DB installation | 05 |
| 64 | Operation Monitoring Device (LED Screen or Tablet) | 02 |
| 65 | Laser Level Machine | 05 |
| 66 | Drill Machine Set Chargeable 24V Cordless | 02 |
| 67 | VFD (Variable Frequency Drive)-(Different Brands)-7-11KW -400V | 04 |
| 68 | Torque Drill Machine-Set –230V – 400W | 02 |
| 69 | calculator (Scientific) | 02 |
| 70 | Radiation measuring meter (Solar Irradiance meter) | 05 |
| 71 | Pyranometer (For Solar irradiance) | 05 |
| 72 | Thermal Infrared Sensor / Imager | 05 |
| 73 | IV Curve tracer | 05 |
| 74 | Thermal Infrared Sensor / Imager | 05 |
| 75 | Compass | 05 |
| 76 | Solar cleaning brush | 02 |
| 77 | Pressure washer for cleaning | 02 |

- Consumable (with quantity/25 Students)

| Serial No. | Item | Qty. Required |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 10 No. |
| 3 | PVC Pipe/ Duct. | 500 ft |
| 4 | PVC clamp. | 3Pkt |
| 5 | PVC board with plate. | 72 No. |
| 6 | Distribution Box-PVC | 10 No. |
| 7 | AC MCB 2P 63A | 06 No. |
| 8 | AC MCB 1P 16A | 10 No. |
| 9 | AC MCB 1P 10A | 10 No. |
| 10 | Rotary Box | 4 No. |
| 11 | DC Wire 4mm XLPE (tinned coated) | 2 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 2 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 40 ft |
| 15 | Wire 1/0.044 | 2 Coil |
| 16 | Wire 3/0.029 | 5 Coil |
| 17 | Wire 7/0.029 | 2 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 10 |
| 24 | Push Button (3H) | 10 |
| 25 | Flexible Pipe 3/4” | 20 ft |
| 26 | Flexible Pipe 1” | 20 ft |
| 27 | Duct Putty 40x40 | 10 |
| 28 | Duct Putty 60x60 | 10 |
| 29 | Rawal Plug | 100 |
| 30 | Panel indicators | 12 |
| 31 | Intermediate Switch | 10 |
| 32 | Screw 1.5” | 5 boxes |
| 33 | Single pole switch. | 50 |
| 34 | Lamp holder | 25 |
| 35 | Lamp AC/DC | 25 |
| 36 | PVC Connector Strip | 25 |
| 37 | Drill bits | 25 |
| 38 | Electrical PVC tapes (Multi colors) | 25 |
| 39 | Two-way switch | 25 |
| 40 | Two pole switches | 25 |
| 41 | Junction Box | 25 |
| 42 | Photo Copy Paper -A4 | 12 Rims |
| 43 | PVC Cable Ties | 05 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 05 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 05 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 12 |
| 47 | Connector MC-4 1500V (set) | 50 |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 3 Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 1 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |
| 51 | Battery Terminals (set) | 24 |
| 52 | Battery Water (Distilled Water) | 05 Bottles |
| 53 | Rawal Bolt with Washers | 50 |
| 54 | Lightning Arrester Complete Set (Copper) Medium Size | 03 |
| 55 | PVC Pipe ¾” | 500 ft |
| 56 | Two Pin Socket | 36 |
| 57 | Lamp Holder | 36 |
| 58 | Junction Box ¾” | 20 |
| 59 | PVC Boards 4”x4” | 60 |
| 60 | DC MCB 2P 63A & 125A | 10 |
| 61 | AC MCCB 3P 40A | 10 |
| 62 | DC SPD 2P 40KA 1500V & 1000V | 10 |
| 63 | AC SPD 2P 40KA 500V | 10 |
| 64 | AC SPD 4P 40KA 1000V | 10 |
| 65 | V+A Protector 2P 80A | 5 |
| 66 | Magnetic Contactors 2+2 | 20 |
| 67 | Phase Failure Relay | 5 |
| 68 | Drawing Charts | 200 |
| 69 | Exercise Board (800x1200 mm) | 25 |
| 70 | Cable (4-core) 10-mm | 01 coil |

- Student Teacher Ratio

25:1

- Teacher Qualification

B.Sc. Engineering and 2 years of relevant work experience in solar industry

Or

B-Tech and 2 years of relevant work experience in solar industry

Or

Diploma Associate Engineer (DAE) and 3 years’ relevant work experience in solar industry

Or

Certificate as Solar PV Technician Level 2 with 3 years of relevant work experience

- Duration / Credit Hours / Contact Hours

| Credit Hours | Duration |
| --- | --- |
| 30 | 6 Months |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |